## RADxrad_Data_Element_Template_v
Variable / Field Name | Section Header | Field Type | Field Label | Choices, Calculations, OR Slider Labels | Field Note | Text Validation Type OR Show Slider Number | Text Validation Min | Text Validation Max | Branching Logic (Show field only if...) | Unit | CDE Reference
limit_of_blank | Analytical Performance | float | Limit of Blank (LOB). The highest apparent analyte concentration expected to be found when a replicate of a sample containing no analyte are tested. Concentration units must be specified in the "Units" column! For qualitative tests. |  | Armbruster DA, Pry T. Limit of blank, limit of detection and limit of quantitation. Clin Biochem Rev. 2008 Aug;29 Suppl 1(Suppl 1):S49-52. PMID: 18852857; PMCID: PMC2556583. | [5 empty] | https://ncbi.nlm.nih.gov/pmc/articles/PMC2556583
limit_of_detection | Analytical Performance | float | Limit of Detection (LOD). The minimum amount or concentration of analyte that can be reliably distinguished from zero. Concentration units must be specified in the "Units" column! For qualitative tests. |  | Armbruster DA, Pry T. Limit of blank, limit of detection and limit of quantitation. Clin Biochem Rev. 2008 Aug;29 Suppl 1(Suppl 1):S49-52. PMID: 18852857; PMCID: PMC2556583. | [5 empty] | https://ncbi.nlm.nih.gov/pmc/articles/PMC2556583
limit_of_detection_sn_ratio | Analytical Performance | float | Signal to noise ratio used to define the limit of detection in standard deviations. |  | Example: 3
limit_of_detection_detail | Analytical Performance | text | Description of how limit of detection was determined. |  | Example: A dilution series of heat inactivated SARS-CoV-2 virus stock (USA-WA1/2020) was prepared in natural clinical matrix (pooled nasopharyngeal swab samples eluted in VTM). Five (5) replicates were tested per dilution. The testing was performed as per the recommended instructions for use, with the virus in clinical matrix applied directly onto the Swab until the saturation of the flocked tip. The estimated LoD concentration for verification was selected as the concentration in between the dilution factor that returned 5/5 positive test outcomes (100%) and the next dilution factor that returned 0/5 positive (0%) based on the qualitative result. Source: https://www.fda.gov/media/144592/download.
limit_of_quantitation | Analytical Performance | float | Limit of Quantiation (LOQ). The minimum amount or concentration of analyte in the test sample that can be quantified with acceptable precision. Concentration units must be specified in the "Units" column! For quantiative tests. |  | Armbruster DA, Pry T. Limit of blank, limit of detection and limit of quantitation. Clin Biochem Rev. 2008 Aug;29 Suppl 1(Suppl 1):S49-52. PMID: 18852857; PMCID: PMC2556583.
limit_of_quantitation_sn_ratio | Analytical Performance | float | Signal to noise ratio used to define the limit of quantification in standard deviations. |  | Example: 5
limit_of_quantitation_detail | Analytical Performance | text | Description of how limit of quantition was determined. |  | COVID-19 Home Test was tested with up to a concentration of 106.43 TCID 50 /mL of heat inactivated SARS-CoV-2 virus (USA-WA1/2020 Isolate). Source: https://www.fda.gov/media/144592/download.
dynamic_range_min | Analytical Performance | float
dynamic_range_max | Analytical Performance | float
high_dose_hook_effect | Analytical Performance | text | Description of high dose hook effect. |  | Example: No high dose hook effect was observed when the Ellume COVID-19 Home Test was tested with up to a concentration of 106.43 TCID 50 /mL of heat inactivated SARS-CoV-2 virus (USA-WA1/2020 Isolate). Source: https://www.fda.gov/media/144592/download. | [5 empty] | https://www.olink.com/faq/what-is-the-high-dose-hook-effect/
non_clinical_sensitivity | Analytical Performance | float | The proportion of system-based positives; calculated as 100xTP/(TP+FN). Used for comparison with a VQA standard.
non_clinical_selectivity | Analytical Performance | float | The proportion of system-based negatives; calculated as 100xTN/(TN+FP). Used for comparison with a VQA standard.
area_under_the_ROC_curve | Analytical/Clinical Performance | float | ROC-based performance. AUC under ROC curve.
ROC_x_values | Analytical/Clinical Performance | list | List of false positive rate values (1-specificity)
ROC_y_values | Analytical/Clinical Performance | list | List of true positive rate values (sensitivity)
analytical_sensitivity | Analytical Performance | float | Analytical sensitivity is defined as the slope of the calibration curve. |  | Armbruster DA, Pry T. Limit of blank, limit of detection and limit of quantitation. Clin Biochem Rev. 2008 Aug;29 Suppl 1(Suppl 1):S49-52. PMID: 18852857; PMCID: PMC2556583; https://www.youtube.com/watch?v=8Pe3k3fJNe8
analytical_sensitivity_unit | Analytical Performance | text | Unit of analytical sensitivity
analytical_inclusivity | Analytical Performance | text | Impact of variants/mutations on test results. Specificity with respect to variants/mutations compared to wildtype |  | Analysis can be in silico and wet testing
cross_reactivity_organism | Analytical Performance | text | Name of organism tested for cross-reactivity against target organism |  | Example: Human coronavirus OC43
cross_reactivity_organism_concentation | Analytical Performance | float | Concentration of cross-reacting organism.
cross_reactivity_organism_concentation_unit | Analytical Performance | text | Concentation unit used for cross-reacting organism. |  | Example: copies/ml
cross_reactivity_result | Analytical Performance | category | Result of cross-reactivity test against target organism. A positive results indicates that cross-reacting organism gives a positive signal. | positive ¦ negative ¦ inconclusive
cross_reactivity_detail | Analytical Performance | text | Description of observed cross-reactivity.
interfering_substance | Analytical Performance | text | Name of the interfering substance. |  | Example: Menthol
interfering_substance_provider | Analytical Performance | text | Name of the entity that provided the interfering substance. |  | Example: Sigma Aldrich
interfering_substance_concentration | Analytical Performance | list | Concentration of the interfering substance. |  | Example: 1.5
interfering_substance_concentation_unit | Analytical Performance | text | Concentration unit used for interfering substance. |  | Examples: mg/ml, %v/v
interfering_substance_detail | Analytical Performance | text | Description of observed interference. |  | Example: There was no interference of SARS-CoV-2 detection observed from any of the substances tested except for bleach which was shown to interfere at the initial concentration of 1% v/v tested. Further testing indicated that the highest bleach level the test system could tolerate was 0.2% v/v. Source: https://www.fda.gov/media/144592/download.
positive_percent_agreement | Analytical/Clinical Performance | float | Positive Percent Agreement (PPA). The proportion of non-reference standard positive subjects in whom the new test is positive. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
negative_percent_agreement | Analytical/Clinical Performance | float | Negative Percent Agreement (NPA). The proportion of non-reference standard negative subjects in whom the new test is negative. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
overall_percent_agreement | Analytical/Clinical Performance | float | Percentage of total subjects where the new test and the non-reference standard agree. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
target_condition | Clinical Performance | text | A particular disease, a disease stage, health status, or any other identifiable condition within a patient, such as staging a disease already known to be present, or a health condition that should prompt clinical action, such as the initiation, modification, or termination of treatment. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
reference_standard | Clinical Performance | text | The best available method for establishing the presence or absence of the target condition; the reference standard can be a single test or method, or a combination of methods and techniques, including clinical follow-up. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
study_population | Clinical Performance | text | The subjects/patients (and specimen types) included in the study | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
stratification | Clinical Performance | text | Stratification of subjects, e.g., days since onset of symptoms, asymptomatic vs. symptomatic, co-infections, PCR Cycle Threshold, n x LOD concentration ranges for contrived samples, number of subjects in each category in a separate data elements.
true_positives | Clinical Performance | integer | True Positives (TP). The number of subjects/specimens with true positive test results | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
false_positives | Clinical Performance | integer | False Positives (FP). The number of subjects/specimens with false positive test results | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
true_negatives | Clinical Performance | integer | True Negatives (TN). The number of subjects/specimens with true negative test results. | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
false_negatives | Clinical Performance | integer | False Negatives (FN). The number of subjects/specimens with false negative test results | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
clinical_sensitivity | Clinical Performance | float | The proportion of subjects with the target condition in whom the test is positive; calculated as 100xTP/(TP+FN). Used for comparison with a reference (Gold) standard. |  | PCR is Gold standard for COVID-19. For comparison with a non-reference standard use percent agreement metrics.
clinical_sensitiviy_ci_percent | Clinical Performance | float | Percent used to define two-sided confidence interval. |  | Example: 95
clinical_sensitivity_ci_min | Clinical Performance | float | Lower bound of confidence interval.
clinical_sensitvity_ci_max | Clinical Performance | float | Upper bound of confidence interval.
clinical_specificity | Clinical Performance | float | The proportion of subjects without the target condition in whom the test is negative; calculated as 100xTN/(FP+TN). |  | PCR is Gold standard for COVID-19. For comparison with a non-reference standard use percent agreement metrics. | [5 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
positive_predictive_value | Clinical Performance | float | The proportion of test positive patients who have the target condition; calculated as 100xTP/(TP+FP) | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
negative_predictive_value | Clinical Performance | float | The proportion of test negative patients who do not have the target condition; calculated as 100xTN/(TN+FN) | [7 empty] | https://www.fda.gov/files/medical%20devices/published/Guidance-for-Industry-and-FDA-Staff---Statistical-Guidance-on-Reporting-Results-from-Studies-Evaluating-Diagnostic-Tests-%28PDF-Version%29.pdf
clinical_cutoff | Clinical Performance | float
invalid_test_rate | Clinical Performance | float
invalid_test_detail | Clinical Performance | text
turnaround_time | Clinical Performance | integer | TAT | [6 empty] | minutes
price_per_test | Clinical Performance | float | [7 empty] | USD
Calibration Curve
Quality Control Samples
Selectivity and Specificity | You have clinical_ sensitivity and specificity - do you need a separate one for analytical selectivity and specificity?
Sample Size Impact | This came up yesterday in Gail's meeting too
Accuracy, Precision, and Recovery | Accuracy is accounted for through specificity and sensitivity - how about precision?
Stability | This came up yesterday in Gail's meeting too
Dilution Effects
Partial and Cross Validations | Cross is covered how about partial?
Linearity | This could be important when you have multiple maxima and minima
repeatability, | This is important
intermediate precision
reproducibility | This is more important
Range